## Sheet1
City of Westminster Residential Multifamily Plumbing Data Sheet
Date of Submittal |  | Project #
Building Address
Applicant Name
Contact Phone / Email
Number of Bedrooms in Building
Enter the number of each fixture to be installed per water tap in the "Count" column
Enter the Fixture Rated Flow in GPM When Required
Fixture Type | Count
Bathroom Group - tank private
Bathroom Group - valve private
Bathtub - private
Bathtub - public
Bidet - private
Combination fixture - private
Dishwashing machine - private
Hose Bibb
Kitchen sink - private
Kitchen sink - hotel , restaurant
Laundry trays (1 to 3) private
Lavatory private
Service sink - offices etc.
Showerhead private
Washing machine (8 lbs) private
Washing machine (8 lbs) public
Washing machine (15 lbs) public
Water Closet flush valve private
Water Closet flush valve public
Water Closet flush tank private
Water Closet flush tank public
Water Closet flushometer tank
All other fixtures or water uses not listed above
Description | GPM / FU | Count
Notes:
Please return to City of Westminster Public Works and Utilities
Tap velocities may not exceed 15 FPS
Velocities after the service line are not recommended to exceed 8 FPS
Meter and tap size must be the same unless the City requests otherwise