## Sheet1
City of Westminster Commercial Plumbing Data Sheet
Date of Submittal |  | Project #
Building Address
Applicant Name
Contact Phone / Email
Enter the number of each fixture to be installed per water tap in the "Count" column
If tenant finish, provide count for entire building after TF is complete
Enter the Fixture Rated Flow in GPM When Required
Fixture Type |  | Count
Automatic Clothes Washer-Individual
Automatic Clothes Washer-Large Capacity (GPM)
Bathtub - w. or w.o. shower head
Coffeemaker
Dishwasher - commercial (GPM)
Drink Dispenser
Drinking Fountain
Glass Filler
Hose Bibb # 1
Hose Bibb - each additional
Ice Maker
Lavatory
Shower - per head
Sink - counter / bar / shampoo
Sink - cup
Sink - flushing rim
Sink - commercial kitchen / food prep
Sink - medical or laboratory
Sink - service
3/4-Inch Supply Urinal
1-Inch Supply Urinal
Wall Hydrant - Hot and Cold - 1/2" dia
Wall Hydrant - Hot and Cold - 3/4" dia
Wash Fountain - Semicircular
Wash Fountain - Circular
Water Closet - flushometer type
Water Closet - gravity type flush tank
Water Closet - flushometer tank
All other fixtures or water uses not listed above
Description | GPM / FU | Count
Please return to City of Westminster Public Works and Utilities
Tap velocities may not exceed 15 FPS
Velocities after the service line are not recommended to exceed 8 FPS
Meter and tap size must be the same unless the City requests otherwise